HOW TO USE THE BRICANYL INHALER

| ALWAYS SHAKE THE INHALER BEFORE USE |
| --- |
| Remove the dust cap from the mouthpiece as shown and shake the canister vigorously. | Holding the inhaler as shown breathe out gently, but not fully, then IMMEDIATELY... |
| ...place the mouthpiece in your mouth as shown and close your lips around it. Start to breathe in slowly and deeply through your mouth and press the canister firmly as shown to release a dose of Bricanyl and continue to breathe in slowly. |

Hold your breath for 10 seconds, or as long as is comfortable before breathing  out slowly.

If you are to take a second  inhalation  you should wait at least one minute before repeating  Steps 2, 3 and 4.

After use replace the dust cap on the

mouthpiece.

IMPORTANT INFORMATION ABOUT BRICANYL

FOLLOW YOUR DOCTOR'S INSTRUCTIONS CAREFULLY

DOSAGE Bricanyl can be used to give relief during on attack of wheezing.  When taken regularly Bricanyl can also help prevent attacks of wheezing.

Follow your doctorÕs instructions carefully

REFILL After the first prescription for Bricanyl Inhaler, refill canisters can be prescribed  by your doctor to fit in the plastic inhaler.

CHILDREN Younger children should be supervised by an adult when using the inhaler.

CLEANING The inhaler should be cleaned regularly in warm water after removing the aerosol canister.

CAUTION The aerosol canister is pressurised Ð keep away from heat and direct sunlight and do not puncture or incinerate, even when empty. Do not tamper with the valve.

CONTACT YOUR DOCTOR IF:

Your breathing is getting  worse.

You are not obtaining  relief with the current dose.

You frequently wake up at night with asthma.

You develop chest tightness in the morning or it persists for longer then usual.

You may need  more treatment.

Please read the instruction leaflet carefully.

The Spacer Inhaler makes it easier to inhale Bricanyl because the spacer chamber slows down the speed of the aerosol mist, so that it can be more easily breathed into the lungs,

where it acts.

To make it easier to carry, the Spacer Inhaler can be folded up, like a telescope.  To assemble the Spacer Inhaler correctly and stop it folding up in use, you must follow the

instructions carefully.

Note: When the Spacer Inhaler is correctly used you will not feel the cold spray hitting the mouth or throat. This means that more of the spray is reaching your lungs.

HOW TO ASSEMBLE YOUR BRICANYL SPACER INHALER

Hold the Spacer Inhaler gently between

thumb and forefingers, as shown.  Pull the

finger grips in the direction shown.

Fold the inner part upwards as shown,

until it clicks into place.

Gently pull out the middle part until it

clicks into place.

The Spacer Inhaler is now ready for use as

described in the next section.

HOW TO USE YOUR BRICANYL SPACER INHALER

ALWAYS SHAKE THE SPACER INHALER BEFORE USE

| Assemble the Spacer Inhaler as described and shake the canister vigorously. | Holding the Spacer Inhaler as shown, breathe out gently but not fully, then IMMEDIATELY.... |
| --- | --- |

....place the mouth piece to your mouth as shown and close your lips around the hole. Do not insert the end inside your mouth. Start to breath in slowly and deeply through your mouth and press the canister firmly as shown to release a dose of Bricanyl and continue to breathe in slowly.

Hold your breath for 10 seconds, or as long as is comfortable before  breathing out slowly.

If you are to take a second inhalation you should wait at least one minute before repeating Steps 2, 3 and 4. After use the Bricanyl Spacer Inhaler should be folded as shown below.

HOW TO FOLD YOUR BRICANYL SPACER INHALER

IMPORTANT: FOLLOW THE INSTRUCTIONS SHOWN OR THE DEVICE WILL NOT FOLD EASILY AND MAY BREAK  IF FORCED

Turn the Bricanyl Spacer  Inhaler upside down and press your thumb firmly on the retaining clip near the marked circle as shown.  Fold the inner part in the direction shown.

|  | Holding the finger grips, push the inner part as shown until the finger grips fit tightly into the slots of the middle part. |
| --- | --- |

Push fully with the palm of the hand as shown until the middle part fits completely into the outer part.

IMPORTANT INFORMATION ABOUT BRICANYL

FOLLOW YOUR DOCTORS INSTRUCTIONS CAREFULLY

Your Bricanyl Spacer Inhaler is carefully designed  to ensure the best possible effect of the drug.  Please handle the Spacer

Inhaler carefully.  Should you accidentally pull it apart it can be easily re-assembled by pushing the middle part into the outer

part as shown, until it clicks into place. Then follow the instructions on "How to fold your Bricanyl Spacer Inhaler".

DOSAGE  Bricanyl can be used to give relief during an attack of wheezing.  When taken regularly, Bricanyl can also help prevent attacks of wheezing.  REFILL After the first prescription for Bricanyl Spacer  Inhaler, refill canisters can be prescribed by your doctor to fit into the plastic inhaler.  CHILDREN Younger children should be supervised by an adult when using the inhaler.

CLEANING The Spacer  Inhaler should be cleaned  regularly in warm water after removing the aerosol canister.

CAUTION The aerosol canister is pressurised -keep away from heat and direct sunlight and do not puncture or incinerate even when empty.  Do not tamper with the valve.

CONTACT YOUR DOCTOR IF:

Your breathing  is getting  worse.

You are not obtaining  relief with the current dose.

If you frequently wake up in the night with asthma.

You develop chest tightness in the morning or it persists  for longer than usual.

You may need more treatment.